## Data
ANALYTE | UNIT | RESULT | MCL | Primary/Secondary
Arsenic | mg/L | 0.000472 | 0.05 | Primary
Manganese | mg/L | 0.0539 | 0.05 | Secondary
Selenium | mg/L | 0.000636 | 0.05 | Primary
Nickel | mg/L | 0.00298 | 0.1 | Primary
Iron | mg/L | 8.27 | 0.3 | Secondary
Copper | mg/L | 0.0027 | 1 | Secondary
Barium | mg/L | 0.0675 | 2 | Primary
Fluoride | mg/L | 0.1 | 4 | Primary
Gross Beta Activity | pCi/L | 2.26 | 50 | Triggers additional monitoring
Chloride | mg/L | 31.8 | 250 | Secondary
Sulfate | mg/L | 0.249 | 250 | Secondary
Total Dissolved Solids | mg/L | 128 | 500 | Secondary
pH | pH | 6.1 | 6.5 - 8.5 | Secondary
4,8-dioxa-3H-perfluorononanoic acid | µg/L | 0.00181 | No MCL established | NA
Alkalinity (as CaCO3) | mg/L | 56 | No MCL established | NA
Calcium | mg/L | 6.9 | No MCL established | NA
Cobalt | mg/L | 0.00176 | No MCL established | NA
Conductivity | umhos/cm | 217 | No MCL established | NA
Grains per gallon | Grains | 7 | No MCL established | NA
Hardness (Ca,Mg) | mg/L | 27.32 | No MCL established | NA
Hardness (Total) | mg/L | 72.26 | No MCL established | NA
Langelier Saturation Index |  | -2.85 | No MCL established | NA
Magnesium | mg/L | 2.45 | No MCL established | NA
Perfluorobutanoic acid | µg/L | 0.00313 | No MCL established | NA
Perfluorohexanesulfonic acid | µg/L | 0.000996 | No MCL established | NA
Perfluorooctanoic acid | µg/L | 0.00105 | No MCL established | NA
Perfluoropentanoic acid | µg/L | 0.00963 | No MCL established | NA
Potassium | mg/L | 2.44 | No MCL established | NA
Silica | mg/L | 30.2 | No MCL established | NA
Sodium | mg/L | 16.9 | No MCL established | NA
Sodium Adsorption Ratio |  | 1.41 | No MCL established | NA
Strontium | mg/L | 0.0898 | No MCL established | NA
Total HPC | CFU/100mL | 35700 | No MCL established | NA
Total THMs | µg/L | 0 | No MCL established | NA
Lead | mg/L | 0.00123 | Treatment Technique | MCLG: Copper (1.3), Lead (0); Action Level: Lead (0.015), Copper (1.3)
Turbidity | NTU | 130 | Treatment Technique | surface water sources or ground water sources under the direct influence of surface water
1,1 Dichloroethane | µg/L | NOT DETECTED
1,1 Dichloroethylene | µg/L | NOT DETECTED |  | 177
1,1 Dichloropropene | µg/L | NOT DETECTED
1,1,1 Trichloroethane | µg/L | NOT DETECTED
1,1,1,2 Tetrachloroethane | µg/L | NOT DETECTED
1,1,2 Trichloroethane | µg/L | NOT DETECTED
1,1,2,2 Tetrachloroethane | µg/L | NOT DETECTED
1,2 Dichlorobenzene | µg/L | NOT DETECTED
1,2 Dichlorobenzene | µg/L | NOT DETECTED
1,2 Dichloroethane | µg/L | NOT DETECTED
1,2 Dichloropropane | µg/L | NOT DETECTED
1,2,3 Trichlorobenzene | µg/L | NOT DETECTED
1,2,3 Trichloropropane | µg/L | NOT DETECTED
1,2,4 Trichlorobenzene | µg/L | NOT DETECTED
1,2,4 Trichlorobenzene | µg/L | NOT DETECTED
1,2,4 Trimethylbenzene | µg/L | NOT DETECTED
1,2-Diphenylhydrazine | µg/L | NOT DETECTED
1,3 Dichlorobenzene | µg/L | NOT DETECTED
1,3 Dichlorobenzene | µg/L | NOT DETECTED
1,3 Dichloropropane | µg/L | NOT DETECTED
1,3,5 Trimethylbenzene | µg/L | NOT DETECTED
1,4 Dichlorobenzene | µg/L | NOT DETECTED
1,4 Dichlorobenzene | µg/L | NOT DETECTED
11-Chloroeicosafluoro-3-oxaundeca ne-1-sulfonic acid | µg/L | NOT DETECTED
2,2 Dichloropropane | µg/L | NOT DETECTED
2,4,6-Trichlorophenol | µg/L | NOT DETECTED
2,4-Dichlorophenol | µg/L | NOT DETECTED
2,4-Dimethylphenol | µg/L | NOT DETECTED
2,4-Dinitrophenol | µg/L | NOT DETECTED
2,4-Dinitrotoluene | µg/L | NOT DETECTED
2,6-Dinitrotoluene | µg/L | NOT DETECTED
2-Chloronaphthalene | µg/L | NOT DETECTED
2-Chlorophenol | µg/L | NOT DETECTED
2-Methyl-4,6-dinitrophenol | µg/L | NOT DETECTED
2-Nitrophenol | µg/L | NOT DETECTED
3,3 Dichlorobenzidine | µg/L | NOT DETECTED
3,4-Methylphenol | µg/L | NOT DETECTED
4,4,5,5,6,6,6-Heptafluorohexanoic acid | µg/L | NOT DETECTED
4:2 Fluorotelomer sulfonic acid | µg/L | NOT DETECTED
4-Bromophenyl phenyl ether | µg/L | NOT DETECTED
4-Chloro-3-methylphenol | µg/L | NOT DETECTED
4-Chlorophenylphenyl ether | µg/L | NOT DETECTED
4-Nitrophenol | µg/L | NOT DETECTED
5:3 FTCA | µg/L | NOT DETECTED
6:2 Fluorotelomer sulfonic acid | µg/L | NOT DETECTED
7:3 FTCA | µg/L | NOT DETECTED
8:2 Fluorotelomer sulfonic acid | µg/L | NOT DETECTED
9-Chlorohexadecafluoro-3-oxanona ne-1-sulfonic acid | µg/L | NOT DETECTED
Acenaphthene | µg/L | NOT DETECTED
Acenaphthylene | µg/L | NOT DETECTED
Aluminum | mg/L | NOT DETECTED
Anthracene | µg/L | NOT DETECTED
Antimony | mg/L | NOT DETECTED
Benz[a]anthracene | µg/L | NOT DETECTED
Benzene | µg/L | NOT DETECTED
Benzidine | µg/L | NOT DETECTED
Benzo(a)pyrene | µg/L | NOT DETECTED
Benzo(b)fluoranthene | µg/L | NOT DETECTED
Benzo(g,h,i)perylene | µg/L | NOT DETECTED
Benzo(k)fluoranthene | µg/L | NOT DETECTED
Benzyl butyl phthalate | µg/L | NOT DETECTED
Beryllium | mg/L | NOT DETECTED
Bis(2-chloro-1-methylethyl) ether | µg/L | NOT DETECTED
bis(2-Chloroethoxy)methane | µg/L | NOT DETECTED
bis(2-Chloroethyl) ether | µg/L | NOT DETECTED
Bis(2-ethylhexyl) phthalate | µg/L | NOT DETECTED
Boron | mg/L | NOT DETECTED
Bromobenzene | µg/L | NOT DETECTED
Bromochloromethane | µg/L | NOT DETECTED
Bromodichloromethane | µg/L | NOT DETECTED
Bromoform | µg/L | NOT DETECTED
Bromomethane | µg/L | NOT DETECTED
Cadmium | mg/L | NOT DETECTED
Carbon Tetrachloride | µg/L | NOT DETECTED
Chlorobenzene | µg/L | NOT DETECTED
Chloroethane | µg/L | NOT DETECTED
Chloroform | µg/L | NOT DETECTED
Chloromethane | µg/L | NOT DETECTED
Chlorotoluene 2 | µg/L | NOT DETECTED
Chlorotoluene 4 | µg/L | NOT DETECTED
Chromium (Total) | mg/L | NOT DETECTED
Chrysene | µg/L | NOT DETECTED
cis 1,2 Dichloroethylene | µg/L | NOT DETECTED
cis 1,3 Dichloropropene | µg/L | NOT DETECTED
Dibenzo(a,h)anthracene | µg/L | NOT DETECTED
Dibenzofuran | µg/L | NOT DETECTED
Dibromochloromethane | µg/L | NOT DETECTED
Dibromochloropropane | µg/L | NOT DETECTED
Dibromomethane | µg/L | NOT DETECTED
Dichlorodifluoromethane | µg/L | NOT DETECTED
Dichloromethane | µg/L | NOT DETECTED
Diethyl phthalate | µg/L | NOT DETECTED
Dimethyl phthalate | µg/L | NOT DETECTED
Di-n-butyl phthalate | µg/L | NOT DETECTED
Di-n-octyl phthalate | µg/L | NOT DETECTED
E. coli | P/A | NOT DETECTED
Ethylbenzene | µg/L | NOT DETECTED
Ethylene dibromide | µg/L | NOT DETECTED
Fluoranthene | µg/L | NOT DETECTED
Fluorene | µg/L | NOT DETECTED
GenX | µg/L | NOT DETECTED
Gross Alpha Activity | pCi/L | NOT DETECTED
Hexachlorobenzene | µg/L | NOT DETECTED
Hexachlorobutadiene | µg/L | NOT DETECTED
Hexachlorobutadiene | µg/L | NOT DETECTED
Hexachlorocyclopentadiene | µg/L | NOT DETECTED
Hexachloroethane | µg/L | NOT DETECTED
Indeno[1,2,3-c,d]pyrene | µg/L | NOT DETECTED
Isophorone | µg/L | NOT DETECTED
Isopropylbenzene | µg/L | NOT DETECTED
Lithium | mg/L | NOT DETECTED
m,p Xylene | µg/L | NOT DETECTED
Mercury | mg/L | NOT DETECTED
Methyl Tertiary Butyl Ether | µg/L | NOT DETECTED
Molybdenum | mg/L | NOT DETECTED
n Butylbenzene | µg/L | NOT DETECTED
n Nitrosodimethylamine | µg/L | NOT DETECTED
n Propylbenzene | µg/L | NOT DETECTED
Naphthalene | µg/L | NOT DETECTED
Naphthalene | µg/L | NOT DETECTED
N-Ethyl perfluorooctane sulfonamide | µg/L | NOT DETECTED
n-Ethyl perfluorooctane sulfonamidoethanol | µg/L | NOT DETECTED
N-ethyl perfluorooctanesulfonamidoacetic acid | µg/L | NOT DETECTED
Nitrate (as N) | mg/L | NOT DETECTED
Nitrite (as N) | mg/L | NOT DETECTED
Nitrobenzene | µg/L | NOT DETECTED
N-methyl perfluorooctane | µg/L | NOT DETECTED
N-Methyl perfluorooctane sulfonamidoethanol | µg/L | NOT DETECTED
N-methyl perfluorooctanesulfonamidoacetic acid | µg/L | NOT DETECTED
N-Nitrosodi-n-Propylamine | µg/L | NOT DETECTED
N-Nitrosodiphenylamine | µg/L | NOT DETECTED
o Xylene | µg/L | NOT DETECTED
o-Cresol | µg/L | NOT DETECTED
p Isopropyltoluene | µg/L | NOT DETECTED
Pentachlorophenol | µg/L | NOT DETECTED
Perfluoro(2-ethoxyethane)sulfonic acid | µg/L | NOT DETECTED
Perfluoro-3,6-dioxaheptanoic acid | µg/L | NOT DETECTED
Perfluoro-4-oxapentanoic acid | µg/L | NOT DETECTED
Perfluoro-5-oxahexanoic acid | µg/L | NOT DETECTED
Perfluorobutanesulfonic acid | µg/L | NOT DETECTED
Perfluorodecanesulfonic acid | µg/L | NOT DETECTED
Perfluorodecanoic acid | µg/L | NOT DETECTED
Perfluorododecanesulfonic acid | µg/L | NOT DETECTED
Perfluorododecanoic acid | µg/L | NOT DETECTED
Perfluoroheptanesulfonic acid | µg/L | NOT DETECTED
Perfluoroheptanoic acid | µg/L | NOT DETECTED
Perfluorohexanoic acid | µg/L | NOT DETECTED
Perfluorononanesulfonic acid | µg/L | NOT DETECTED
Perfluorononanoic acid | µg/L | NOT DETECTED
Perfluorooctanesulfonamide | µg/L | NOT DETECTED
Perfluorooctanesulfonic acid | µg/L | NOT DETECTED
Perfluoropentanesulfonic acid | µg/L | NOT DETECTED
Perfluorotetradecanoic acid | µg/L | NOT DETECTED
Perfluorotridecanoic acid | µg/L | NOT DETECTED
Perfluoroundecanoic acid | µg/L | NOT DETECTED
Phenanthrene | µg/L | NOT DETECTED
Phenol | µg/L | NOT DETECTED
Phosphorus | mg/L | NOT DETECTED
Pyrene | µg/L | NOT DETECTED
Radon | pCi/L | NOT DETECTED
sec Butylbenzene | µg/L | NOT DETECTED
Silver | mg/L | NOT DETECTED
Styrene | µg/L | NOT DETECTED
Tannins | mg/L | NOT DETECTED
tert Butylbenzene | µg/L | NOT DETECTED
Tetrachloroethylene | µg/L | NOT DETECTED
Thallium | mg/L | NOT DETECTED
Tin | mg/L | NOT DETECTED
Titanium | mg/L | NOT DETECTED
Toluene | µg/L | NOT DETECTED
Total Coliform | P/A | NOT DETECTED
trans 1,3 Dichloropropene | µg/L | NOT DETECTED
Trichloroethylene | µg/L | NOT DETECTED
Trichlorofluoromethane | µg/L | NOT DETECTED
Uranium | mg/L | NOT DETECTED
Vanadium | mg/L | NOT DETECTED
Vinyl Chloride | µg/L | NOT DETECTED

## VOC MCL
Column1 | Column2
1,1,1-Trichloroethane | 0.20
1,1,2-Trichloroethane | 0.005
1,1-Dichloroethylene | 0.007
1,2,4-Trichlorobenzene | 0.07
1,2-Dibromo-3-chloropropane (DBCP) | 0.0002
1,2-Dichlorethane | 0.005
1,2-Dichloropropane | 0.005
2,3,7,8-TCDD (Dioxin) | 3x10^{-8}
2,4,5-TP | 0.05
2,4-D | 0.07
Acrylamide
Alachlor | 0.002
Atrazine | 0.003
Benzene | 0.005
Benzo[a]pyrene | 0.0002
Carbofuran | 0.04
Carbon tetrachloride | 0.002
Chlordane | 0.002
Chlorobenzene | 0.10
cis-1,2-Dichloroethylene | 0.07
Dalapon | 0.2
Di(2-ethylhexyl)adipate | 0.4
Di(2-ethylhexyl)phthalate | 0.006
Dichloroethylene | 0.1
Dichloromethane | 0.005
Dinoseb | 0.007
Diquat | 0.02
Endothall | 0.1
Endrin | 0.002
Epichlorohydrin
Ethylbenzene | 0.7
Ethylene dibromide | 0.00005
Glyphosate | 0.7
Heptachlor | 0.0004
Heptachlor epoxide | 0.0002
Hexachlorobenzene | 0.001
Hexachlorocyclopentadi ene | 0.05
Lindane | 0.0002
Methoxychlor | 0.04
Monochlorobenzene | 0.1
o-Dichlorobenzene | 0.6
Oxamyl (Vydate) | 0.2
para-Dichlorobenzene | 0.075
Pentachlorophenol | 0.001
Picloram | 0.5
Simazine | 0.004
Styrene | 0.1
Tetrachloroethylene | 0.005
Toluene | 1
Total polychlorinated biphenyls | 0.0005
Toxaphene | 0.003
Trichloroethylene | 0.005
Vinyl chloride | 0.002
Xylenes (total) | 10

## Inorganic
Column1 | Column2
Antimony | 0.006
Arsenic | 0.05
Asbestos | 7 million fibers/ 10um long
Barium | 2
Beryllium | 0.004
Cadmium | 0.005
Chromium | 0.1
Cyanide (as free cyanide) | 0.2
Fluoride | 4.0
Mercury | 0.002
Nickel | 0.1
Nitrate | 10 (as Nitrogen)
Nitrite | 1 (as Nitrogen)
Selenium | 0.05
Thallium | 0.002

## DBP
Column1 | Column2
Total Trihalomethanes (TTHM) | 0.080
Total Haloacetic Acids (HAA 5) | 0.060
Total Carbon

## Radialogical
Column1 | Column2
Gross alpha, excl radon and uranium | 15pCi/
Radium-226 and radium-228 | 5pCi/
Gross beta | 4mrem/yr
Uranium | 30 ug/L